One-door Access Controller 
User Manual V2.4
1. Specifications:                                        

1.1Technical parameters：                                                                                 

	NO
	Item
	Value

	1
	Operating voltage
	DC 12V±10%


	2
	Operating current
	< 100mA

	3
	Dimensions
	120×78×22(mm)

	4
	Weight
	110g

	5
	Ambient temperature
	0℃—60℃

	6
	Relative humidity
	20%—80%

	7
	Storage
	1000users

	8
	Card type 

(alternative)
	EM(ID) card

(IC card for options)

	9
	Card reading distance
	1－15CM


1.2 Factory Default：       


1.3 Light and Sound indicates:  

Light: red and green
	Light Description
	Indicates

	Red light flash every 1 sec （Slow flash）
	Standby state

	Green light flash every 0.5sec (Fast flash)
	Pending further action

	Red light is always ON 
	Programming state

	Green light is always ON within Open Time
	Unlocking state


Sound：Buzz

	Sound Description
	Indicates

	1 short buzz
	Valid input

	3 short buzz
	Invalid input

	1 long buzz
	Programming success

	Continuous long buzz
	Restoring factory programming passwords


2. Installations Guide:                                              
JP1 terminal：                        

JP2 terminal：

Wiring diagram:


[image: image1.png]Access power

Release  Bell

JP1

i

112V GND DO DIt

Tt

626 Tnput/Output

)

NC CcoM NO

elay Output |

Jp2






3. Programming Guide                                               

3.1 Detailed Programming Guide：

3.2  To reset to Factory Programming Password（123456）
Step1、Turn off power and connect bin 2&3 of RST(S1)。

Step2、Turn on power and buzzer gives 3 long buzz with green light flash fast。
   If need to set Manager Card, now read two empty cards first one as Manager Add Card and Second one as Manager Delete Card with red light flashing and continuous short buzz .

Step3、Turn off power, disconnect bin2&3 and connect bin 1&2 of RST。
Step4、Turn on power again. 
3.3  How to use Manager Card – MAC&MDC

To add a card user in standby mode:  read MAC  read new cards  read MAC
To delete a card user in standby mode: read MDC   read registered cards 

read  MDC
To delete all users in standby mode:  read MDC  read MAC  read MDC 

Remark: User cards can be added or deleted continuously.
3.4 User ID No. explain
User ID is auto-generating 4-digit number started at 0001. The number increases with adding user one by one and ignores deleting user. 
Common Access Password has no ID. 
3.5 How to change PIN (When open mode: card+ PIN)

After reading card and input corresponding PIN to open the door, 
within 5 seconds, long press  #  until the green light flash fast， and 
then input  new PIN   #   new PIN   # , new PIN changed successfully
with a long buzz.
Programming Password�
123456�
�
Common Access Password�
None�
�
Relay Unlock output�
5 Seconds�
�
Open mode�
Card or Access Password


Access Password include Private Access Password (PIN) and Common Access Password�
�
Security mode�
OFF�
�
Backlight (For options)�
Auto�
�
W26 port (For options)�
Input�
�






NO�
Mark�
Color�
Function�
�
1�
+12V�
Red�
Power+�
�
2�
GND�
Black�
Power-�
�
3�
PUSH�
BLUE�
Low level output�
�
4�
OPEN�
Yellow�
Door Release�
�
5�
BEL+�
Grey�
High level Input�
�
6�
BEL-�
White�
Voltage output �
�






NO�
Mark�
Color�
Function�
Remark�
�
1�
+12V�
Red�
Power+�
For options�
�
2�
GND�
Black�
Power-�
�
�
3�
DATA0�
Green�
WG DATA0�
�
�
4�
DATA1�
White�
WG DATA1�
�
�
5�
NC�
Brown�
Relay NC output�
�
�
6�
COM�
Blue�
Relay Com output�
�
�
7�
NO�
Purple�
Relay NO output�
�
�






Remark:


     If let Relay drive electric-lock, please connect a backward diode


 with the lock’s “+” and “-” poles.





Purpose�
Operations�
Instructions�
�
Basic Function�
Change Programming Password�
#  Programming Password  #  0   new Programming Password   #   


                                  new Programming Password   # �
If Programming Password lost, perform 3.2 to reset to Factory Default (123456).�
�
�
Add user card�
#  Programming Password  #  1   read card  #�
If add multi cards, read cards continuously�
�
�
Set Common Access Password�
#  Programming Password  #  21  new Common Access Password  #�
Common Access Password is only one. Open method: Common Access Password  #�
�
�
Delete all users�
#  Programming Password  #  40  0000  #�
Delete all cards and PIN except Common Access Password�
�
�
Delete user by read card�
#  Programming Password  #  41  read card  #�
If delete multi cards, read cards continuously�
�
Expand Function�
Add Private Access Password(PIN)�
#  Programming Password  #  22  PIN  #�
PIN can be more. Open method: PIN  #�
�
�
Add card by input card No.�
#  Programming Password  #  23  input card No.  #�
Card No. is 10-digit or 8-digit, machine auto-identify�
�
�
Add multi-card by input card No. zone�
#  Programming Password  #  24  input start card No.  card Qty  #�
Card Qty is 4-digit (If one-time add twenty cards, input 0020)�
�
�
Add “card +PIN”�
#  Programming Password  #  3   read card  PIN  #�
If modify PIN, see 3.5�
�
�
Delete user by input User ID No.�
#  Programming Password  #  42  input User ID No.  #�
About User ID No. see 3.4�
�
�
Delete user by input card No.�
#  Programming Password  #  43  input card No.  #�
Card No. is 10-digit or 8-digit, machine auto-identify�
�
�
Delete user by input PIN�
#  Programming Password  #  44  input PIN  #�
PIN is 3~6 digits.�
�
�
Delete all PIN users�
#  Programming Password  #  45  1111  #�
Use for PIN users (Do not include Card users and Card +PIN users) �
�
�
Change Open time�
#  Programming Password  #  5   XX  #�
XX can be 2-digit, and the max. is 99. If input 00, the signal output time is 0.2 Secs.�
�
�
Set Open mode�
#  Programming Password  #  6   XX  #�
XX can be 01(only Card) / 02 (Card or Access Password) / 03 (Card+PIN)�
�
�
Reader setting (For options)�
#  Programming Password  #  6   04  #�
The machine can be used for reader(W26 output)�
�
�
Security function Setting


Anti-dismantle Alarm setting(For options)�
#  Programming Password  #  7   XX  #�
XX can be 01/ 02( Security function OFF / ON) and 03/04(Anti-dismantle Alarm OFF / ON)�
�
�
�
Remark: Security Function ON means System would be locked for 5 Minutes if continue to read illegal cards or input wrong Access Password for 10 times.�
�
�
Backlight setting(For options)�
#  Programming Password  #  8   XX  #�
XX can be 01/02/03 (Normal ON  / Normal OFF /  Auto) �
�
�
Reset Factory Default�
#  Programming Password  #  8   99  #�
Except Programming Password and Manager Card�
�
�
Set Manager Card�
#  Programming Password  #  91  read MAC  read MDC  #�
First read card is Manager Add Card and Second read card is Manager Delete Card.�
�
�
Cancel Manager Card�
#  Programming Password  #  92  #�
MAC: Manager Add Card, MDC: Manager Delete Card�
�






Programming Password Default: 123456, all password can be 3~6 digits








